Study on Convolutional Neural Network to Detect Covid-19 from Chest X-Rays

Azher Uddin1, BayazidTalukder1, Mohammad Monirujjaman Khan1

1Department of Electrical and Computer Engineering, North South University, Bashundhara, Dhaka-1229, Bangladesh

*Corresponding Author: Mohammad Monirujjaman Khan

Email: monirujjaman.khan@northsouth.edu

Abstract: The world is facing a pandemic due to the coronavirus disease 2019 (COVID-19), named by the World Health Organization. COVID-19 is caused by a virus called severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2), which was initially discovered in late December 2019 in Wuhan, China. Later, the entire world was plagued within a few months. COVID-19 has become a global health crisis because millions of people worldwide are affected by this fatal virus. Fever, dry cough, and gastrointestinal problems are the most common signs of COVID-19. The disease is highly contagious and the affected people can easily spread the virus to those with whom they have close contact. Thus, contact tracing is a suitable solution to prevent the virus from spreading. The method of identifying all persons with whom a COVID-19-affected patient has come into contact in the last 2 weeks is called contact tracing. This study presents an investigation of a convolutional neural network (CNN), which makes the test faster and more reliable, to detect COVID-19 from chest X-ray (CXR) images. Because there are many studies in this field, the designed model focuses on increasing the accuracy level and uses a transfer learning approach and a custom model. Pretrained deep CNN models, such as VGG16, InceptionV3, MobileNetV2, and ResNet50, have been used for deep feature extraction. The performance measurement in this study was based on classification accuracy. The results of this study indicate that deep learning can recognize SARS-CoV-2 or coronavirus from CXR images. The designed model provided 93% accuracy and 98% validation accuracy, and the pretrained customized models such as MobileNetV2 obtained 97% accuracy, InceptionV3 obtained 98%, and VGG16 obtained 98% accuracy, respectively. Among these models, InceptionV3 has recorded the highest accuracy.

Keywords: COVID-19; CNN; Python; chest X-ray; dataset; data augmentation; MobileNetV2; ResNet50; VGG16; transfer learning.

1	Introduction

The current coronavirus disease 2019 (COVID-19) pandemic is very lamentable because the second wave seems to be more dangerous than the first wave. India is one of the most affected countries in the second wave of severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2).The USA and Brazil are also two vulnerable countries as they have not recuperated from the first wave. On 26 April 2021, the total number of infected people in India was 360,960, which is increasing rapidly [1]. This is distressing for Bangladesh because of the close geographical location between these countries, and the Indian variant of SARS-CoV-2 is more dangerous than the other variants. The virus is spreading very fast and can be contracted at all ages, which can lead to serious illness. As a highly contagious viral disease caused by SARS-CoV-2, COVID-19 has wreaked havoc on the world’s demography, killing over 2.9 million people globally, making it the most significant global health epidemic since the 1918 influenza pandemic. Patients older than 60 years, as well as those with medical problems, should be considered at a higher risk of being infected by SARS-CoV-2 [2]. According to the estimates of the World Health Organization, there are approximately 167,011,807 COVID-19 cases worldwide [3]. When this virus attacks the human body, there may be two scenarios: mild and severe. As the onset of the coronavirus infection, one issue is certain: the virus has a negative effect on lung health. As a result, doctors advise patients to keep track of their oxygen levels with an oxygen meter so that any abnormalities can be detected and treated early [4].Convolutional neural networks (CNNs) are appropriate for this type of problem [5].

The virus normally attacks the lungs in the human body and causes pneumonia in severe cases. Subsequently, it decreases the oxygen level instantly. Because this virus has no cure thus far, the only solution before a vaccine is to prevent the spread of the virus. Therefore, tests and traces are the only solutions so far. Normally, the polymerase chain reaction (PCR) test is widely used in medical science for this. However, because the number of cases is increasing rapidly, it has become nearly impossible to perform many tests through PCR. PCR testing is time-consuming and costly. Therefore, alternative testing is required so that infected people can be identified quickly and quarantined or isolated. To date, some deep learning approaches have been used to identify viruses. However, the results of these deep learning techniques are not sufficient to deal with a medical-related diagnosis system.

COVID-Net, a deep CNN architecture built from chest X-ray (CXR) images for the detection of COVID-19, was introduced in [6]. A research [7] was conducted to classify CXR images into three groups: a transfer learning-based CNN model was used for COVID, non-COVID, and regular pneumonia. The authors reported that the CNN-based computer aided diagnosis (CAD) method yielded an overall precision of 94.5%. In [8], a model based on the auxiliary classifier generative adversarial network, called CovidGAN, was created. They added synthetic images created by CovidGAN. The accuracy was increased to 95%. In [9], to minimise complexity and increase memory efficiency, the authors used iterativepruning. Combining modality-specific information transfer, iterative model pruning, and ensemble learning, they realised an enhanced prediction. In [10], the goal is to develop an automated deep transfer learning-based technique for detecting COVID-19 infection using the extreme version of the Inception model, with 95% accuracy in InceptionV3. The authors of [11] constructed DRE-Net and used ResNet50 as a pretrain model, which is based on MobileNetV2. To extract image details, they used feature pyramid networks. This study was based on image data augmentation. The authors of [12] used AlexNet and GoogLeNet, and two separate DCNNs were used to classify the images as having pulmonary manifestations: tuberculosis or healthy. In [13], five different types of pretrained models were used for the detection of coronavirus-infected patients using chest X-ray radiographs: InceptionV3, Inception-ResNetV2, ResNet152, ResNet50, and ResNet101. In [14], they proposed a classification model that was analysed by VGG16 with an accuracy of 95.9%, whereas in [15], the authors used MobileNetV2 for different datasets along with VGG19, where 97.40% accuracy was obtained in MobileNetV2. Further, the fine-tuned ResNet50 has 92% accuracy in the study by [16].

Most studies obtained an accuracy of approximately 90%. Conversely, the present paper study used some pretrained models. That is, ImageNetV2 with customization yielded 98% accuracy and validation accuracy of 97%; VGG16, accuracy of 98% and validation accuracy of 98%; ResNet50, accuracy of 88% and validation accuracy of 91%; and InceptionV3, accuracy of 98% and validation accuracy of 99%. The designed custom CNN model obtained 97% accuracy and 97% validation accuracy. Clearly, the accuracy percentage of the models used in this study is higher than those of previous studies, making the models in the current study more reliable. Their robustness has been verified through multiple model comparisons, and the scheme can be drawn through study analysis.

This paper describes a deep learning approach for identifying SARS-CoV-2-infected patients. In the classification, feature extraction in the CNN model can be achieved with high performance. Filter-based feature extraction is used in the CNN model, which can be effective for classification. CNNs can classify images with complex identities. A large number of weight parameters can be reduced using the CNN architecture. Considering these facts, this paper proposes different CNN architectures to detect COVID-19 [17], specifically using CT scan images. In this study, CXR images were used as a sample dataset because X-ray equipment is low cost and time-efficient, as well as small and available in almost every clinic. Therefore, fewer developing countries can benefit from this research. This system will help detect coronavirus from CXR images within the shortest possible time. One of the most common radiological tests is chest radiography. CXR analysis involves the detection and localization of thoracic illnesses. This will reduce the pressure on PCR test, which is costly and time-consuming. False negatives are a common issue in PCR test results, which is not helpful for the current situation. If we can develop a model with very high accuracy, false result problems can be resolved. If this test could be introduced, more people could be tested in a short time, and thus the spread could be decreased significantly.

The remainder of the paper is organised as follows. The materials and procedures are covered in Section 2. Section 3 presents the findings and analysis. Finally, in Section 4, the conclusion is presented.

2 Methods and Materials

The dataset was obtained from the open source Kaggle and GitHub and then merged to prepare a suitable dataset. The dataset contained CXR images of normal patients and patients with COVID-19. A CNN was used for feature extraction. The model has four Conv2D layers, three MaxPooling2D layers, one flattened layer, two dense layers, and a rectified linear unit activation function. The final dense layer, softmax, was used as the activation function.

In this study, transfer learning is also used so that the accuracy of the designed model can be compared with that of the pretrained model. For pretrained models, MobileNetV2, VGG16, Resnet50, and InceptionV3 were used with some modifications in the final layers, and a head model from the base model. The customized final layers are average pooling, flattening, dense, and dropout. The CNN model is suitable for image feature extraction as it extracts the features of given images and learns and differentiates the images from these features.

2.1 Materials and Tools

Python is the ideal programming language for data analysis. Deep learning-based challenges are particularly effective with Python programming because of Python’s large library access. To utilise a personal GPU for dataset preprocessing, Anaconda Navigator and Jupyter Notebook were used, as well as Google Colab, to handle large datasets and model training online.They were also used to save all data, code, and work so that it can be retrieved from any GPU using GitHub. Because GitHub has a tracking system for teamwork and code management, it is also suitable for teamwork.

2.2 Dataset Description

The dataset used included images of CXRof two classes. One class holds CXR images of COVID-19 patients, and the other holds CXR images of normal patients. These classes were divided into two subclasses. One of them is a training set, and the other is a validation set. The dataset contained 2541 images [18]. In this study, the dataset was split into training and test sets, with a percentage of 75% of the training data and 25% of the test data. Data augmentation has been used to increase the diversity of data without collecting new data. Figs. 1 and 2 show the CXR images of a normal patient and a COVID-19 patient, respectively.

Figure 1: COVID X-ray image, Figure 2: Normal X-ray image

Fig. 1 shows a SARS-CoV-2-affected CXR image, and Fig. 2 shows a normal CXR image. The height and width of the images in the dataset were initially different from each other. The shapes of the images were fixed in the model.

2.3 Block Diagram

In the block diagram of Fig. 3, the input is given as a CXR image of a dataset, which has two subsections: COVID patients and normal patients. Before fitting the model, this system underwent preprocessing, such as loading images of a particular size, splitting the dataset, and data augmentation techniques. Fitting the model and fine-tuning provided better accuracy. Plotting the confusion matrix, model loss, and model accuracy helped show how loss and accuracy change over time. Finally, in the output section, if the user provides an image as an input model, we can predict whether it is an image of a COVID patient.

In the block diagram, the overall system is provided in the simplest manner. The decision part of this system is crucial and plays a vital role in this study. The decision is mainly based on the model, which is trained with a large amount of data that is extracted from CXR images.

Figure 3: Block diagram of the system

2.4 System Architecture

The system architecture is an overview of the entire system. In this architecture, the input is a CXR image, and the output is a prediction of the image. In this case, it will predict whether the image is COVID-19 affected. The input shape is 224 × 224, and there are three channels. In the first two layers of the designed architecture, the filter size is 32 with padding, kernel size of 3, and activation function as ReLU. Thereafter, there is the first maxpooling layer, which has a pool size of 2 and strides of 2. The following layer is a flat layer which converts pooled features into a single column. Finally, two dense layers were formed. The first one has ReLU as an activation function, and the least dense layer’s activation function is softmax. After preprocessing, the features enter the network. Fig. 4 shows a bird’s view of the architecture.

Figure 4: System architecture

2.4.1 Convolutional Layer

The convolutional layer is the basic layer of CNN. This is accountable for determining the design characteristics. The input picture is passed through a filter in this layer. The function map is obtained from the output of the same filters by convolution operation.

The multiplication of sets of weights with the input is performed by a convolution operation. A filter consists of a two-dimensional collection of weights multiplied by an array of input data. A dot product is a type of multiplication that is applied between a filter-sized patch of the input and the filter, which results in a single value. This product is applied between the filter-sized patch of the input and the filter. The filter is smaller than the input, and the same filter is used to multiply the input from different points. The filter is designed as a special technique to identify specific types of features as it systematically covers the entire image.

Assume that the NN input is V∈RA×B, where A denotes the number of features that indicate an input frequency band and B denotes the total number of input frequency bands. The size of the filter bank function vector is represented by B in the case of filter bank features. Assume that v = [v1 v2... vB], where vBdenotes the function vector for band b. The activations of the convolution layer can be calculated as

hj,k= θb=1swb,jTvb+k-1+aj,  (1)

where hj,k is the jth feature map’s convolution layer output of the convolution layer band of kth, s indicates the filter scale, wb,j indicates the weight vector for the jth filter’s bth band, aj is the jth feature map's bias, and (x) represents the activation function [19].

2.4.2 Pooling Layer

The pooling layer summarizes the presence of features by facilitating the downsampling of features. It is normally applied after a convolution layer and has some spatial invariance. Two popular pooling methods, average pooling and max pooling, summarize the average presence of a function and the most activated presence of a function [20].

In fact, the pooling layer deletes the unnecessary features from the images and makes the images literate. In average pooling, the layer averages the value of its current view every time. When using maxpooling, the layer selects the maximum value from the filter’s current view each time. Using the matrix size specified in each feature map, the max-pooling technique selects only the maximum value, resulting in reduced output neurons. Thus, the size of the image becomes very small, but the scenario remains the same. A pooling layer is important for reducing the number of feature maps and network parameters, and a dropout layer is used to prevent overfitting.

The activation of max pooling can be calculated as follows:

pj,m= maxk=1rhj,(m-1)(n+k),                                             (2)

where pj,m is the performance of the pooling layer of the jth function map and the mth pooling layer band, n is the subsampling factor, r is the pooling scale which is the number of bands to be pooled together, and n is the subsampling factor.

2.4.3 Flatten Layer

The flattened layer is used to convert data from the matrix into a one-dimensional array for use in the fully connected layer and to create a single one-dimensional feature that is both long and narrow. Flattening vectors are an option. Finally, it connects the single vector to the final classification model, which is also known as a fully connected layer [21]. All pixel data is given in one and connected with fully connected layers. Flattening and fully connected layers are the last few steps of CNN. It is prepared for the next fully linked layer of picture categorization by converting it into a one-dimensional array.

2.4.4 Fully Connected Layer

CNNs rely mostly on fully connected layers, which have proven to be quiteuseful in computer vision image recognition and classification. Convolution and pooling are the starting levels of the CNN process, which breaks down the image into attributes and analyses them separately [22].

In a fully connected layer, each input is connected to all neurons, and the inputs are flattened. The ReLU activation function is commonly used as a fully connected layer. The softmax activation function was used to predict the output images in the last layer of the fully connected layer. The convolutional neural network architecture uses a fully connected layer. These are the last few layers and important layers of the convolutional neural network.

2.4.5 Pretrained Models

The scarcity of medical data or datasets is one of the greatest challenges for researchers in medical-related research, and data is one of the most crucial components of deep learning approaches. Data analysis and labelling are both costly and time-consuming. Transfer learning provides the advantage of avoiding the requirement for large datasets. The calculations become lower and less costly. Transfer learning is a method in which the pretrained model, which is trained on a large dataset, is transferred to the new model that needs to be trained, including new data that is relatively smaller than required. For a certain task, this process initialized the training of the CNN with a small dataset, including a large-scale dataset that was already trained in the pretrained models [23].

Three CNN-based pretrained models were used to classify CXR images in this investigation. These applied models are MobileNet_V2, VGG16, and InceptionV3. The CXR images were of two classes. One is normal, and the other is a SARS-CoV-2-infected patient. This study also used a transfer learning method, which can perform with inadequate data by using ImageNet data, and it is also efficient in training time. Fig. 5 shows the symmetric system architecture of the transfer-learning technique.

Figure 5: System architecture of the pre-trained model

As shown in Fig. 5, the system architecture has four main parts. The first part is the CXR images, and the second part involves loading a pretrained model. In the second part, three pretrained models are loaded. In the third part, the loaded pretrained models were modified with the following layers, as shown in Fig. 5. Finally, the output part is where the results will be published as COVID-19-infected and normal patients.

MobileNetV2 improves the cutting-edge performance of versatile models on numerous assignments and seat stamps across a range of model sizes. In every line of MobileNetV2, it works as a sequence of n repeated layers [24]. Depthwise separable is used in MobileNet, which factorizes the normal form into depthwise convolution. This implies a depth of 1×1, which is also known as a pointwise convolution [25]. InceptionV3 is another pretrained model that was used. It normally has a maximum number of pooling layers. VGG16 is also quite helpful because it can extract features at low levels with the help of a small kernel. For CXR images, a small-sized kernel can efficiently extract the features [26]. Because of the insufficient dataset, this study used VGG16 with appropriate layer addition for the final result [27].

3 Result and Analysis

After training the model with the train generator, validation generator, step per epoch=8, and 10 epochs, our model provided 92% accuracy and 98% validation accuracy in the 10th epoch of our model. In the first few epochs, the accuracy of the training was quite low, starting at 55%, and after the 10th epoch, it changed to 92%. The validation accuracy started at 93% and ended at 0.9844 after the 10th epoch. VGG16 has a train accuracy of 98% and a validation accuracy of 98%, where the loss of train was 4% and 6% of the validation loss. In ResNet50, this research found 88% training accuracy and 91% validation accuracy. The research found a 29% loss in training and a 21% loss in validation. The histories of the accuracy and loss of the four models are given in Table 1.

Table 1: Histories of the accuracy and loss of the four models

| Model | Accuracy | Validation Accuracy | Loss | Validation Loss |
| --- | --- | --- | --- | --- |
| Custom CNN | 97% | 97% | 6% | 8% |
| Modified MobileNetV2 | 98% | 97% | 5% | 6% |
| VGG16 | 98% | 98% | 4% | 6% |
| ResNet50 | 88% | 91% | 29% | 21% |
| InceptionV3 | 98% | 98% | 5% | 5% |

3.1 Model Accuracy

From the plot of accuracy history, it can be observed that the train accuracy increased rapidly after every epoch. In the first epoch, the accuracy was 77%, and after every epoch, it increased. The validation accuracy of the model was 94% and also increased until the last epoch. From the plot of the model accuracy, it can be observed that an increasing line has been drawn for training accuracy, and for test accuracy, a line which is around 94%–98% accuracy all the time during the epoch. Figs. 6 (a) and 6 (b) show the model accuracy and model loss, respectively.

(a)                                                                         (b)

Figure 6: (a) Model accuracy and (b) model loss

From the plot of the model loss, it can be assumed that both the lines of training loss and test loss have decreased gradually. After the first epoch, the train loss was 45%, and after 10 epochs, it reached 7%. The validation loss was 16%, and after 10 epochs, it reached 9%. Fig. 6 shows a plot of the model loss.

3.2 Pretrained Model Accuracy and Loss

In transfer learning, based on pretrained models, MobileNetV2 and the modified head model provided even smoother predictions. In the first epoch, the accuracy was 72%, and the validation accuracy was 96%. After the 8th epoch, the accuracy increased to 98% of the training accuracy and 97% of the validation accuracy. From Fig. 7, MobileNetV2 has smoother predictions. Early epochs of VGG16 did not provide satisfactory results. It had a higher margin of training loss. After some epochs, the training loss decreased, and the accuracy increased.

Figure 7: Model accuracy and loss (MobileNetV2)     Figure 8: Model accuracy and loss (VGG16)

From Fig. 8, the pretrained architecture of VGG16 shows that it has more training loss than MobileNetV2 in a few epochs, and after some epochs, it is similar to the result given in the last few epochs. The accuracy of VGG16 is the same as in the last epoch, as in MobileNetV2. However, MobileNetV2 provided better results from the start of the training. It can be observed from the graph in Fig. 9 that ResNet50 resulted in a large loss in the first few epochs and completed its epoch with a large training loss. Compared with other architectures presented in this study, it had a higher training loss and an accuracy of 88%.

Figure 9: Model accuracy and loss (ResNet50) Figure 10: Accuracy and loss (InceptionV3)

As shown in Fig. 10, InceptionV3 also provided smooth training results. The accuracy was good compared to others, and the training loss was less from the beginning. After a few epochs, it achieved higher accuracy and less training loss. It seems that it has properties similar to those of MobileNetV2. Among these architectures, MobileNetvV2 and InceptionV3 provided better results compared with others in accuracy and training loss. After testing the model, COVID-19 and normal CXRs were also detected correctly.

3.3 Confusion Matrix

The systems plotted a confusion matrix, with columns representing real values and rows representing predicted values. In a classification model, the summary of the prediction results is known as the confusion matrix. In the confusion matrix, correct and incorrect predictions are summed and split down by class, and the forn ×n matrices FP, FN, TP, and TN are calculated using Eqs. (3), (4), (5), and (6) [28].

TPi=aii                                                                                                               (3)

FPi= j=1,j≠inaji                                                                                                (4)

FNi= j=1,j≠inaij                                                                                                (5)

TNi= j=1,j≠ink=1,k≠inajk                                                                                 (6)

Fig. 11 shows the confusion matrix.

Figure 11: Confusion matrix

Three terms are important in error analysis. These are predictions, data, and features. Prediction-based error analysis can be performed using a confusion matrix, where it can be visualised by the percentage of true positives, true negatives, false positives, and false negatives. Data size and nature are also important for error analysis. Splitting the data accordingly for making trains and tests is also considerable for error analysis because the training and test sets may affect the results on a large scale. Features play a vital role in error analysis. Feature engineering and regularisation were also performed to reduce errors.

3.4 Model Evaluation

The performance analysis of the models is evaluated based on accuracy, precision, recall, and F1-score. The performance of the proposed model was assessed using the terms true positive (TP), false positive (FP), true negative (TN), and false negative (FN). The rate of properly detecting the affected photographs from all images is referred to as recall, also called sensitivity. Precision is the opposite of recall. The F1-score is a combined measure of precision and recall, which shows how often the predicted value is accurate. It is also known as the harmonic mean of p and r in mathematics. These equations are given below.

Matrixes can be used to evaluate a system’s performance, and after the development of the model, its performance, which performance. Accuracy is a measure of how well a model or system works (i.e., the number of times the model correctly predicts the actual outcome) should be calculated. The mathematical formulas for determining the accuracy are expressed in Eqs. 7 and 8 [29].

accuracy=TP+TNTP+TN+FP+FN                                                                                 (7)

accuracy=correctpredictionstotalnumberofexample.						(8)

The rate of successfully detecting the real value from a set of all values is recognised as recall, also called sensitivity. Recall can be determined using the expression in Eq. (9) [30].

re-call=TPTP+FN	.							(9)

The number of correct identifications is referred to as precision. The number of times the model’s positive forecast was right can be calculated, and this is more related to the model’s positive identification, using the following mathematical formula Eq. (10).

precision=TPTP+FP.							(10)

For both recall and precision, a single matrix can be used to summarize the classifier’s performance, and the F1-score is a single matrix that characterizes precision and recall. It is also known as a harmonic means of precision and recall in other mathematical words.The F1-score is calculated using Eq. (11).

f1-score=2prp+r.								(11)

In Eqs. 3 and 4, TP stands for true positive, FP for false positive, and FN for false negative. The letters p and r in Eq. 10 represent precision and recall, respectively. Model evaluation of precision, recall, and F1-score of our custom CNN models, MobileNetV2, VGG16, and InceptionV3 is given in Table 2. It shows that InceptionV3 and MobileNetV2 have higher precision, recall, and F1-score values than the other models. InceptionV3 performs exceptionally well among other models, and its accuracy also yielded higher results, which are shown in Table 1.

Table 2: Model evaluation

| Model | State | Precision | Recall | F1-score |
| --- | --- | --- | --- | --- |
| Custom CNN | COVID-19 | 1.00 | 0.94 | 0.97 |
| Custom CNN | Normal | 0.95 | 1.00 | 0.97 |
| MobileNetV2 | COVID-19 | 0.99 | 0.96 | 0.98 |
| MobileNetV2 | Normal | 0.97 | 0.99 | 0.98 |
| VGG16 | COVID-19 | 1.00 | 0.95 | 0.97 |
| VGG16 | Normal | 0.96 | 1.00 | 0.98 |
| InceptionV3 | COVID-19 | 1.00 | 0.98 | 0.99 |
| InceptionV3 | Normal | 0.98 | 1.00 | 0.99 |

3.5 Model Test

This study also included real testing by providing CXR images as input to the model. When the model is ready, a file is created with an hdf5 extension, which is the actual model that has been created. For this study, four hdf5 files were created for four different types of models. Subsequently, a new notebook file was created as an ipynb extension for the test. Four models were included in the test file, and individual CXR images were provided as input. In Fig. 12, the result of the test shows whether it is a CXR image of COVID-19 patient.

Figure 12: Screenshot of affected image result

In Fig. 12, the SARS-CoV-2-affected CXR image was provided as an input to the model. Then, the model provided its output where in the given CXR image was a COVID-19 patient (i.e., coronavirus infected).

After this test, another CXR image was provided as an input to the model, and the image was normal. Fig. 13 shows the results of the normal CXR image.

Figure 13: Screenshot of normal image result

Fig. 13 shows a normal output, and this image was of a normal person, and the model successfully predicted the condition of the patient. Not only were these two tests performed for that study, but all of the models were tested. All models passed the test with actual results.

3.6 Model Comparison

The pretrained models of this study (i.e., VGG16, InceptionV3, and MobileNetv2) were compared with some previous models. Compared with the models in the referenced studies, InceptionV3, MobileNetV2, and VGG16 in this study provide better results, accuracy, and efficiency. In the pretrained models, the accuracy increased to a significant level. Compared with those in previous studies [6], [7], the proposed custom CNN has provided better accuracy, precision, and recall. Table 3 shows the comparison of different models and for different datasets.

Table 3: Result comparison

| Reference | Model Name | Accuracy | Accuracy in this study |
| --- | --- | --- | --- |
| In study [10] | Inceptionv3 | 95% | 98% |
| In study [14] | VGG16 | 95.9% | 98% |
| In study [15] | MobileNetV2 | 97.4% | 98% |
| In study [16] | ResNet50 | 92.5% | 88% |
| In study [6] | Custom CNN | 93% | 97% |
| In study [7] | Custom CNN | 94.5% | 97% |

In Table 3, all of the models have excellent accuracy except ResNet50. In Table 3, the study ResNet50 in [16] achieved higher accuracy than in this study. From these pretrained models, InceptionV3 and MobileNetV2 have provided smooth results from the beginning and have almost the highest accuracy among the other studies. Compared with other articles, InceptionV3 and MobileNetV2 have provided smooth accuracy per epoch, which can be observed in this study. VGG16 also provided 98% accuracy, and the referenced article achieved an accuracy of 95.9%. The referenced articles of InceptionV3 and MobileNetV2 achieved 95% and 97.4% accuracy, respectively. However, this study found 98% and 98% accuracy in InceptionV3 and MobileNetV2, respectively. Regarding precision, recall, and F1-scores,  InceptionV3 clearly performs best among these pretrained and custom models.

4 Conclusion

In this study, CNN models were presented, namely, a full custom CNN, pretrained MobileNetV2, VGG16, and InceptionV3, which are modified in the final layers. The models used in this study obtained almost the same accuracy. The dataset contains 2542 SARS-CoV-2-affected and normal CXR images. The accuracy of the pretrained model was 98%, whereas that of the customised CNN model was 97%. Further work will be performed on a larger dataset and with other pretrained models. These models obtained excellent results in the dataset. MobileNetV2 and VGG16 performed well on these datasets. Classification and feature extraction performed well, and the model checks provided the correct results. These models can detect SARS-CoV-2 using a simple CXR image in the shortest possible time. X-ray technology is currently available and is cost-friendly. Thus, it could be an efficient method for detecting COVID-19 patients. To test and trace the virus, this method is quick and has no risk of standing in a queue to test COVID-19 and spreading the virus.

This innovation will greatly change the medical sector. Using this technique, COVID-19 patients can quickly identify, which may contribute to addressing the current pandemic situation. Chest radiography is comparably safer for obtaining a sample than from the nose of a patient. In the future, this type of technique will help human beings. Several deep learning techniques can be used to optimise the parameters to create a robust model which can help mankind. The metaheuristic-based deep COVID-19 model could also be a good technique to be explored in the future [31]. Some more transfer learning-based models can be added in further development to compare the accuracy and optimisation of parameters [32], as well as a large dataset of normal and COVID-19 patients. The results can be observed by changing the ratio of training and testing data, and further comparative analysis can be performed. Analysing risk and survival would be an effective study for further development [33]. In the current scenario, as the volume of patients is quite high, deep learning-based COVID-19 detection systems can be helpful. For more accurate results, different types of CNN architecture were introduced. This technology will inspire future generations to address this unwanted situation. In the future, a large number of SARS-CoV-2-affected patients’ CXRs can be included in the dataset and training, which can be used as an excellent observation. Other networks of CNN models can be trained to determine the accuracy values and compare them in the context of accuracy, precision, recall, and F1 score.

Data Availability Statement: The data used to support the findings of this study are freely available at

https://www.kaggle.com/tawsifurrahman/covid19-radiography-database

Funding Statement:

Conflicts of Interest: The authors would like to confirm there are no conflicts of interest regarding the study.

# References

- K. Thiagarajan, “Why is India having a covid-19 surge?, ”BMJ, pp.1-3,202. Available: https://www.bmj.com/content/bmj/373/bmj.n1124.full.pdf

- M. Cascella, M. Rajnik, A. Aleem, S. C. Dulebohn and R. D. Napoli, “Features, evaluation, and treatment of coronavirus (COVID-19),” StatPearls, 2021. Available: https://www.ncbi.nlm.nih.gov/books/NBK55477

- "WHO coronavirus (COVID-19) dashboard", WHO, 2021. Available: https://covid19.who.int/

- K. Sharma, "Coronavirus: distressed breathing, lung involvement in COVID? Here's what doctors want you to know - Times of India," The Times of India, 202.Available: https://timesofindia.indiatimes.com/life-style/health-fitness/health-news/coronavirus-distressed-breathing-lung-involvement-in-covid-heres-what-doctors-want-you-to-know/articleshow/82195455.cms

- R. Sethi, M. Mehrotra and D.Sethi, "Deep Learning based Diagnosis Recommendation for COVID-19 using Chest X-Rays Images," 2020 Second International Conference on Inventive Research in Computing Applications (ICIRCA), pp. 1-4, 2020. doi: 10.1109/ICIRCA48905.2020.9183278.

- L. Wang, Z. Lin and A. Wong, "COVID-Net: a tailored deep convolutional neural network design for detection of COVID-19 cases from chest x-ray images," Scientific Reports, vol. 10, no. 1, pp. 1-4, 2020. Available: 10.1038/s41598-020-76550-z

- M. Heidary, S. Mirniaharikandehei and A. Khuzani, “Improving the performance of CNN to predict the likelihood of COVID-19 using chest X-ray images with preprocessing algorithms,” International Journal of Medical Informatics, vol. 144, no. 2, pp. 1-3, 2020.

- A. Waheed, M. Goyal, D. Gupta, A. Khanna, F. Al-Turjman and P. R. Pinheiro, "CovidGAN: Data augmentation using auxiliary classifier GAN for improved covid-19 detection,"  IEEE Access, vol. 8, pp. 91916-91923, 2020.

- S. Rajaraman, J. Siegelman, P. Alderson, L. Folio, L. Folio and S. Antani, "Iteratively Pruned Deep Learning Ensembles for COVID-19 Detection in Chest X-Rays", IEEE Access, vol. 8, pp. 115041-115050, 2020. Available: 10.1109/access.2020.3003810.

- N. N. Das, N. Kumar, M. Kaur, V. Kumar and D. Singh, "Automated deep transfer learning-based approach for detection of COVID-19 infection in chest x-rays," IRBM, pp.2-4, 2020.

- S. Ying et al.,"Deep learning enables accurate diagnosis of novel coronavirus (COVID-19) with CT images," IEEE/ACM Transactions on Computational Biology and Bioinformatics, pp. 1-2, 2020.Available: 10.1101/2020.02.23.20026930

- P. Lakhani and B. Sundaram, "Deep learning at chest radiography: automated classification of pulmonary tuberculosis by using Convolutional neural networks," Radiology, vol. 284, no. 2, pp. 574-582, 2017. Available: 10.1148/radiol.2017162326.

- A. Narin, C. Kaya and Z. Pamuk, "Automatic detection of coronavirus disease (COVID-19) using X-ray images and deep convolutional neural networks," Pattern Analysis and Applications, 2021.Available: 10.1007/s10044-021-00984-y

- A. Shelke et al., "Chest X-ray Classification Using Deep Learning for Automated COVID-19 Screening", SN Computer Science, vol. 2, no. 4, 2021. Available: 10.1007/s42979-021-00695-5.

- I. Apostolopoulos and T. Mpesiana, "Covid-19: automatic detection from X-ray images utilizing transfer learning with convolutional neural networks," Physical and Engineering Sciences in Medicine, vol. 43, no. 2, pp. 635-640, 2020. Available: 10.1007/s13246-020-00865-4

- A. Ismael and A. Şengür, "Deep learning approaches for COVID-19 detection based on chest X-ray images," Expert Systems with Applications, vol. 164, pp. 114054, 2021. Available: 10.1016/j.eswa.2020.114054

- Q. Li, W. Cai, X. Wang, Y. Zhou, D. D. Feng and M. Chen, "Medical image classification with convolutional neural network," 13th International Conference on Control Automation Robotics & Vision (ICARCV), pp. 844-848, 2014.

- T. Rahaman, “COVID-19 radiography database,” Kaggle, 2020. [Online]. Available: https://www.kaggle.com/tawsifurrahman/covid19-radiography-database

- O. A. Hamid, L. Deng, D. Yu, ''Exploring convolutional neural network structures and optimization techniques for speech recognition,”ISCA,Vol. 11, pp. 73-5, 2013. Available: https://www.microsoft.com/en-us/research/publication/exploring-convolutional-neural-network-structures-and-optimization-techniques-for-speech-recognition/

- J. Brownlee, "A gentle introduction to pooling layers for convolutional neural networks", Machine Learning Mastery, 2021. Available: https://machinelearningmastery.com/pooling-layers-for-convolutional-neural-networks/

- J. Jeong, "The most intuitive and easiest guide for CNN," Medium, 2021. Available: https://towardsdatascience.com/the-most-intuitive-and-easiest-guide-for-convolutional-neural-network-3607be47480

- S. Saha, "A comprehensive guide to convolutional neural networks — the ELI5 way," Medium, 2021. Available: https://towardsdatascience.com/a-comprehensive-guide-to-convolutional-neural-networks-the-eli5-way-3bd2b1164a53

- I. Apostolopoulos and T. Mpesiana, "Covid-19: automatic detection from X-ray images utilizing transfer learning with convolutional neural networks," Physical and Engineering Sciences in Medicine, vol. 43, no. 2, pp. 635-640, 2020. [Online]. Available: 10.1007/s13246-020-00865-4

- M. Sandler, A. Howard, M. Zhu, A. Zhmoginov and C. L. Chieh, “MobileNetV2: inverted residuals and linear bottlenecks,” IEEE Conference on Computer Vision and Pattern Recognition (CVPR), pp. 4510-4520, 2018.

- A. G. Howard, M. Zhu, B. Chen, D. Kalenichenko, W. Wang et al.,“MobileNets: efficient convolutional neural networks for mobile vision applications,”arXiv,pp.1-7, 2017. Available: https://arxiv.org/abs/1704.04861

- C. Sitaula, and M. B. Hossain, “Attention-based VGG-16 model for COVID-19 chest X-ray image classification,” Springer Science+Business Media, LLC, part of Springer Nature, vol. 51, no.5, pp. 2850-2863, 2020.

- K. Simonyanand A. Zisserman, “Very deep convolutional networks for large-scale image recognition,” arXiv pp.1-8, 2015. Available: https://arxiv.org/abs/1409.1556v4

- M. S. Junayed et al., "AcneNet - A Deep CNN Based Classification Approach for Acne Classes," 2019 12th International Conference on Information & Communication Technology and System (ICTS), 2019, pp. 203-208.

- P. D. Ailab, “Evaluation: from precision, recall and F-measure to ROC, informedness, markedness& correlation,” Machine Learning Technologies,vol.2. pp. 37-63, 2011..Available: http://www.bioinfo.in/contents.php?id=51

- C. Goutte and E. Gaussier, "A probabilistic interpretation of precision, recall and f-score, with implication for evaluation," Lecture Notes in Computer Science, pp. 345-359, 2005. Available: 10.1007/978-3-540-31865-1_25

- M. Kaur, V. Kumar, V. Yadav, D. Singh, N. Kumar and N. Das, "Metaheuristic-based Deep COVID-19 Screening Model from Chest X-Ray Images", Journal of Healthcare Engineering, vol. 2021, pp. 1-9, 2021. Available: 10.1155/2021/8829829.

- D. Singh, V. Kumar, V. Yadav and M. Kaur, "Deep Neural Network-Based Screening Model for COVID-19-Infected Patients Using Chest X-Ray Images", International Journal of Pattern Recognition and Artificial Intelligence, vol. 35, no. 03, p. 2151004, 2020. Available: 10.1142/s0218001421510046.

- N. Gianchandani, A. Jaiswal, D. Singh, V. Kumar and M. Kaur, "Rapid COVID-19 diagnosis using ensemble deep transfer learning models from chest radiographic images", Journal of Ambient Intelligence and Humanized Computing, 2020. Available: 10.1007/s12652-020-02669-6